## Slide 1: GW Detectors noise and sensitivity

## Slide 2: LIGO detectors
Rep. Prog. Phys. 72 (2009) 076901 arXiv:0711.3041

## Slide 3: Sensitivity progress

## Slide 6
Rep. Prog. Phys. 72 (2009) 076901 arXiv:0711.3041

## Slide 7: “Antenna pattern”
“peanut”

## Slide 8: LIGO high frequency sensitivity
Class. Quantum Grav. 25 (2008) 184017
“FSR” (free spectral range) 37.5 kHz

## Slide 9: Antenna pattern at FSR

## Slide 10: Directional sensitivity

## Slide 11: LIGO calibration
Nucl. Instrum. Meth. A624 (2010) 223 arXiv:1007.3973

## Slide 12: Enhanced LIGO detectors
Notes: Sensitivity equivalent to measuring the distance to the nearest star (Proxima Centauri, 4.22 light years distant) to better than 10 microns!

## Slide 13: Squeezed Detectors

## Slide 14: Advanced LIGO/ Advanced Virgo
~10 times better, lower frequencies in band
Installation in progress

## Slide 15: Initial vs Advanced LIGO
Simple pendulums become monolithic, quadruple pendulums with better quality optics
Prototypes being tested,
optics are polished

## Slide 16: Initial vs Advanced LIGO
Lasers become more powerful: 10W  200 W
Installed and being tested at LIGO Livingston.

## Slide 17: Initial vs Advanced LIGO
Seismic isolation goes from passive to active
HAM SEI tested in S6
Most chambers have now their “SEI” installed.

## Slide 18: More on Adv LIGO: LIGO magazine in www.ligo.org

## Slide 19
19
The Advanced GW Detector Network~2020
GEO600
Advanced LIGO
Hanford
Advanced LIGO
Livingston
Advanced
Virgo
LIGO-India?
KAGRA

## Slide 20: Other GW detectors

## Slide 21: Pulsar timing arrays
Image Courtesy of Michael Kramer
Nanograv residuals

## Slide 23: Space detectors: LISA

## Slide 24: Online generators
http://www.gwoptics.org/processing/space_time_quest/
http://www.srl.caltech.edu/~shane/sensitivity/MakeCurve.html